## Summary
|  | MAKAI-KOA | DAPHNE-MV1
Pre Deployment | Positive | 1 | 1
Pre Deployment | Negative | 1 | 1
Field | Total | 57 | 57
| Spent | 57 | 52
| Good | 55 | 41
| Suspect | 1 | 3
| Failed | 1 | 8
| Left to Fire | 0 | 5
In Play: current Mission
Post Deployment | Negative
|  | Leave these on Instrument | Leave these on Instrument
|  | 2 | 57
47
42
40
39
38
30
7
6
5
4
3
2
1
|  | Inspect before recocvering filter | Inspect before recocvering filter
|  | 55 | 58
|  | 33 | 46
|  | 23 | 29
28
25
15
13

## MissionSamples_MV1
PreDeployment
|  |  | Orange (diff shades) = successful Paired samples | [10 empty] | Good |  |  | 41
|  |  | Post Deployment | [10 empty] | Leaked |  |  | 7
DAPHNE: MV1
May 2019 Cartridge Position List | [8 empty] | Local times! | Local times! | Local times!
SC position | Cartridge # | Puck # | Sample | Date Spent | Water Source | Match Dive with Koa-Makai | LRAUV Mission Sample number | Block Sample # | LRAUV Dash S_Filtering (hr:min) | LRAUV Dash S_Processing (hr:min) | LRAUV Dash S_Stopping (hr:min) | Fiter (min:sec) | Process (min:sec) | LRAUV Triggered Sample Depth (m) | LRAUV Triggered Sample Chl(ug/L) | LRAUV Triggered Sample Temp C | Volume (ml) | ESP log Sample Start (hr:min) | ESP log Sample End (hr:min) | Filter (min:sec) | Log | Comment
60 | 313 |  | Positive | [19 empty] | 57 | 58
59 | 205 |  | Negative | 2019-05-24 | MillQ water | [17 empty] | 47 | 46
58 | 202 |  | ????????? | ???????? | [12 empty] | suspect 485 |  |  |  |  | Can't find any mention of Cartridge in LRAUV logs. Volume from ESP Cmd.slot | 42 | 29
57 | 267 |  | LEAKED -Sample at 30-35m -- Noon | 2019-05-29 | 2KM | no | 1 | [6 empty] | 30 |  |  | WET Leaked |  |  |  | 20190529T194310/shore.log |  | 40 | 28
56 | 143 |  | 25-30m --Midnight | 5/29-30/2019 | 2KM | ? | 1 |  | 2019-05-30T06:41:21 |  |  |  |  | 25.583 |  |  | 1000 |  |  |  | 20190530T004844/shore.log |  | 39 | 25
55 | 195 |  | 230-235m--Midnight | 5/29-30/2019 | 2KM | ? | 2 |  | 2019-05-30T07:59:27 |  |  |  |  | 230.591 |  |  | 1000 |  |  |  | 20190530T004844/shore.log |  | 38 | 15
54 | 141 |  | 280-285m--Midnight | 5/29-30/2019 | 2KM | ? (No Koa Sample) | 3 |  | 2019-05-30T09:07:06 |  |  |  |  | 280.5469 |  |  | 1000 |  |  |  | 20190530T004844/shore.log |  | 30 | 13
53 | 8 |  | 45-50 m. -- Noon Acoustic Timeout during sampling | 2019-05-30 | DEIMOS | no | 1 | [6 empty] | 48.9972 |  |  | 484 |  |  |  | 20190530T182348/shore.log | Processed correctly. | 7
52 | 260 |  | 35-40 m. -- Noon | 2019-05-31 | DEIMOS | no | 1 |  | 2019-05-31T05:08:00 |  |  |  |  | 35.6471 |  |  | 1000 |  |  |  | 20190530T200011/shore.log |  | 6
51 | 339 |  | 210-215 m - Noon | 2019-05-31 | DEIMOS | no | 2 |  | 2019-05-31T06:25:12 |  |  |  |  | 210.6343 |  |  | 1000 |  |  |  | 20190530T200011/shore.log | ((NO THIRD SAMPLE @ 285m). LRAUV went into Mission Default. | 5
50 | 87 |  | 30-35 m -- Midnight | 5/31-6/1 | 2KM | yes | 1 |  | 2019-06-01T06:21:18 |  |  |  |  | 30.6847 |  |  | 1000 |  |  |  | 20190601T015931/shore.log | [[before dive spare cartridges in play] | 4
49 | 11 |  | 205-210 m -- Midnight | 5/31-6/1 | 2KM | yes | 2 |  | 2019-06-01T07:37:31 |  |  |  |  | 205.6 |  |  | 1000 |  |  |  | 20190601T015931/shore.log |  | 3
48 | 312 |  | 255-260 m. -- Midnight | 5/31-6/1 | 2KM | yes | 3 |  | 2019-06-01T08:44:30 |  |  |  |  | 255.5273 |  |  | 1000 |  |  |  | 20190601T015931/shore.log |  | 2
47 | 3 |  | 20-25m-LEAKED -- Noon | 2019-06-01 | 2KM | yes | 1 |  | 2019-06-01T17:41:49 |  |  |  |  | 20.8083 |  |  | wET Leaked |  |  |  | 20190601T142912/shore.log |  | 1
46 | 182 |  | 20-25m--Processed? -- Noon | 2019-06-01 | 2KM | yes | 1 |  | Local: 10:44:52.96 Selecting Cartridge 46 |  |  |  |  | 20.8083 |  |  | suspect 1000 |  |  |  | 20190601T142912/shore.log | Says sampled, but no indicatin that the sample was preserved. The ESP may also not be shut off. (FAULT): Scheduling is paused. LRAUV says that it went into default mission, but no other messages.
45 | 169 |  | 20-25m -- Noon | 2019-06-01 | 2KM | yes | 1 |  | 2019-06-01T19:06:07 |  |  |  |  | 20.7767 |  |  | 1000 |  |  |  | 20190601T142912/shore.log
44 | 255 |  | 95-100 m -- Noon | 2019-06-01 | 2KM | yes | 2 |  | 2019-06-01T20:23:03.84 |  |  |  |  | 95.8004 |  |  | 1000 |  |  |  | 20190601T142912/shore.log
43 | 185 |  | 270-275 m -- Noon | 2019-06-01 | 2KM | yes | 3 |  | 2019-06-01T21:35:05 |  |  |  |  | 270.7195 |  |  | 1000 |  |  |  | 20190601T142912/shore.log
42 | 264 |  | 20-25 m -midnight | 2019-06-01 | 2KM | NO SAMPLE | 1 |  | 2019-06-02T06:14:31 |  |  |  |  | 20.8135 |  |  | wET Leaked |  |  |  | 20190602T025849/shore.log
41 | 316 |  | 20-25 m -midnight | 2019-06-01 | 2KM | yes | 1 |  | @22:21:21.63 Selecting Cartridge 41 |  |  |  |  | 20.8135 |  |  | 1000 |  |  |  | 20190602T025849/shore.log | (IMPORTANT): Started mission Default. WHY?????
40 | 136 |  | 20-25 m -midnight | 2019-06-01 | 2KM | NO SAMPLE | 1 |  | 2019-06-02T07:10:48 |  |  |  |  | 20.6974 |  |  | wET Leaked |  |  |  | 20190602T025849/shore.log
39 | 130 |  | 20-25 m -midnight | 2019-06-01 | 2KM | NO SAMPLE | 1 |  | 2019-06-02T07:10:48 |  |  |  |  | 20.6974 |  |  | wET Leaked |  |  |  | 20190602T025849/shore.log
38 | 257 |  | 20-25 m -midnight | 2019-06-01 | 2KM | NO SAMPLE | 1 |  | 2019-06-02T07:22:21 |  |  |  |  | 20.760670 m |  |  | wET Leaked |  |  |  | 20190602T025849/shore.log
37 | 75 |  | 55-60 m --noon | 2019-06-02 | 2KM | yes | 1 |  | 2019-06-02T17:24:22 |  |  |  |  | 55.6464 |  |  | 1000 |  |  |  | 20190602T170120/shore.log
36 | 328 |  | 115-120 m --noon | 2019-06-02 | 2KM | yes | 2 |  | 2019-06-02T18:29:14 |  |  |  |  | 115 |  |  | 1000 |  |  |  | 20190602T170120/shore.log
35 | 186 |  | 250-255 m --noon | 2019-06-02 | 2KM | yes | 3 |  | 2019-06-02T19:42:48 |  |  |  |  | 250.6087 |  |  | 1000 |  |  |  | 20190602T170120/shore.log
34 | 276 |  | 40-45 m -- midnight | 6/2-3/19 | 2KM | yes | 1 |  | 2019-06-03T05:31:22 |  |  |  |  | 40.5851 |  |  | 1000 |  |  |  | 20190602T170120/shore.log
33 | 301 |  | 215-220 m -- midnight | 6/2-3/19 | 2KM | yes | 2 |  | 2019-06-03T06:47:58 |  |  |  |  | 215.578 |  |  | 1000 |  |  |  | 20190602T170120/shore.log
32 | 329 |  | 280-285 m -- midnight | 6/2-3/19 | 2KM | yes | 3 |  | 2019-06-03T07:50:34 |  |  |  |  | 280 |  |  | 1000 |  |  |  | 20190602T170120/shore.log
31 | 174 |  | 110-115 m. --noon | 2019-06-03 | 2KM | ? Makai-7 sample | 1 |  | 2019-06-03T17:30:30 |  |  |  |  | 110.6285 |  |  | 1000 |  |  |  | 20190603T090132/shore.log
30 | 230 |  | 165-170 m --noon --LEADED | 2019-06-03 | 2KM | ? Makai-7 sample | 2 |  | LEAKED |  |  |  |  | 165 |  |  | wET Leaked |  |  |  | 20190603T090132/shore.log
29 | 248 |  | 165-170 m --noon | 2019-06-03 | inside 2KM | ? Makai-7 sample | 1 |  | 2019-06-03T20:50:25 |  |  |  |  | 165.6452 |  |  | 1000 |  |  |  | 20190603T090132/shore.log | Slide::Error in PROCESSING -- IGNORED Archive Syringe (ArS) positionErr at 25ul (actually 56ul) Sample is fine. Looks like it was also evaced. Look for RNAlater crystals.
28 | 219 |  | 245-250 m --noon | 2019-06-03 | inside 2KM | ? Makai-7 sample | 2 |  | 2019-06-03T21:55:55 |  |  |  |  | 245 |  |  | 1000 |  |  |  | 20190603T090132/shore.log | 15:43:40.62 Slide::Error in PROCESSING -- Archive Syringe (ArS) positionErr at 6ul (actually 37ul)Sample is fine. May need Evaced after ESP recovery. Could be filled with RNAlater.
27 | 296 |  | 35m -- midnight | 6/3-4/19 | 2km | ? Makai-7 sample | 1 |  | 2019-06-04T05:31:04 |  |  |  |  | 35.4621 |  |  | 1000 |  |  |  | 20190603T090132/shore.log
26 | 206 |  | 125m -- midnight | 6/3-4/19 | 2km | ? Makai-7 sample | 2 |  | 2019-06-04T06:39:41 |  |  |  |  | 125.6785 |  |  | 1000 |  |  |  | 20190603T090132/shore.log
25 | 308 |  | 250m -- midnight | 6/3-4/19 | 2km | ? Makai-7 sample | 3 |  | 2019-06-04T07:54:00 |  |  |  |  | 250.685 |  |  | 1000 |  |  |  | 20190603T090132/shore.log | Sample good. May need to Evac RNAlater from filter.
24 | 168 |  | 75m -- noon | 2019-06-04 | 2km | ? Makai-7 sample | 1 |  | 2019-06-04T18:03:00 |  |  |  |  | 75.649 |  |  | 1000 |  |  |  | 20190604T090509/shore.log
23 | 54 |  | 130m -- noon | 2019-06-04 | 2km | ? Makai-7 sample | 2 |  | 2019-06-04T19:09:28 |  |  |  |  | 130.6088 |  |  | 1000 |  |  |  | 20190604T090509/shore.log
22 | 265 |  | 250m -- noon | 2019-06-04 | 2km | ? Makai-7 sample | 3 |  | 2019-06-04T20:19:10 |  |  |  |  | 250.6305 |  |  | 1000 |  |  |  | 20190604T090509/shore.log
21 | 235 |  | 35m -- 10pm | 6/4-5/19 | 2km+E 5.5km | ? Makai-7 sample | 1 |  | 2019-06-04T23:47:14 |  |  |  |  | 35.5912 |  |  | 1000 |  |  |  | 20190604T233636/shore.log
20 | 251 |  | 35m -- 10pm | 6/4-5/19 | 2km+E 5.5km | ? Makai-7 sample | 2 |  | 2019-06-05T01:00:12 |  |  |  |  | 39.3319 |  |  | 1000 |  |  |  | 20190604T233636/shore.log
19 | 277 |  | 35m -- 10pm | 6/4-5/19 | 2km+E 5.5km | ? Makai-7 sample | 3 |  | 2019-06-05T02:05:51 |  |  |  |  | 41.17 |  |  | 1000 |  |  |  | 20190604T233636/shore.log
18 | 294 |  | 35m -- 10pm | 6/4-5/19 | 2km+E 5.5km | ? Makai-7 sample | 4 |  | 2019-06-05T03:19:48 |  |  |  |  | 36.3012 |  |  | 1000 |  |  |  | 20190604T233636/shore.log
17 | 53 |  | 35m -- 10pm | 6/4-5/19 | 2km+E 5.5km | ? Makai-7 sample | 5 |  | 2019-06-05T04:30:59 |  |  |  |  | 36.8622 |  |  | 1000 |  |  |  | 20190604T233636/shore.log
16 | 291 |  | 35m -- 10pm | 6/4-5/19 | 2km+E 5.5km | ? Makai-7 sample | 6 |  | 2019-06-05T05:42:28 |  |  |  |  | 35.3815 |  |  | 1000 |  |  |  | 20190604T233636/shore.log
15 | 74 |  | 35m -- 10pm | 6/4-5/19 | 2km+E 5.5km | ? Makai-7 sample | 7 |  | 2019-06-05T06:54:13 |  |  |  |  | 40.499 |  |  | suspect 1000 |  |  |  | 20190604T233636/shore.log | 00:41:27.75 Slide::Error in PROCESSING -- Archive Syringe (ArS) positionErr at 532ul (actually 555ul) Sample compromised/fialied. Look at logs.
14 | 56 |  | 35m -- 10pm | 6/4-5/19 | 2km+E 5.5km | ? Makai-7 sample | 8 |  | 2019-06-05T08:04:07 |  |  |  |  | 36.6604 |  |  | 1000 |  |  |  | 20190604T233636/shore.log
13 | 268 |  | 35m -- 10pm | 6/4-5/19 | 2km+E 5.5km | ? Makai-7 sample | 9 |  | 2019-06-05T09:17:22 |  |  |  |  | 40.0242 |  |  | 1000 |  |  |  | 20190604T233636/shore.log | Sample ok. Inspect.03:09:56.45 Slide::Error in PROCESSING -- Archive Syringe (ArS) positionErr at 5ul (actually 31ul) Look at Logs: Looks like higher ArS error after RNAlater evac.
12 | 58 |  | 35m -- 10pm | 6/4-5/19 | 2km+E 5.5km | ? Makai-7 sample | 10 |  | 2019-06-05T10:32:59 |  |  |  |  | 34.2782 |  |  | 1000 |  |  |  | 20190604T233636/shore.log
11 | 33 |  | 35m -- 4:30am | 2019-06-05 | E 5.5km | no | 1 |  | 2019-06-05T13:46:49 |  |  |  |  | 34.1581 |  |  | 1000 |  |  |  | 20190604T233636/shore.log | 07:34:47.18 Slide::Error in PROCESSING -- Archive Syringe (ArS) positionErr at 1ul (actually 25ul)
10 | 36 |  | 35m -- 4:30am | 2019-06-05 | E 5.5km | no | 2 |  | 2019-06-05T14:58:01 |  |  |  |  | 40.281 |  |  | 1000 |  |  |  | 20190604T233636/shore.log
9 | 61 |  | 35m -- 4:30am | 2019-06-05 | E 5.5km | no | 8 |  | 2019-06-05T16:08:55 |  |  |  |  | 34.2721 |  |  | 1000 |  |  |  | 20190604T233636/shore.log
8 | 159 |  | 35m -- 4:30am | 2019-06-05 | E 5.5km | no | 4 |  | 2019-06-05T17:20:00 |  |  |  |  | 39.7001 |  |  | 1000 |  |  |  | 20190604T233636/shore.log
7 | 2 |  | 35m -- 4:30am | 2019-06-05 | E 5.5km | no | 5 |  | 2019-06-05T17:20:00 |  |  |  |  | 39.7001 |  |  | Failed |  |  |  | 20190604T233636/shore.log | Slide::Error in LRAUV -- Plunge Valve (PV) positionErr
6 | 289 |  | 35m -- 4:30am | 2019-06-05 | E 5.5km | no | 5 | [9 empty] | Failed |  |  |  | 20190604T233636/shore.log | Slide::Error in LRAUV -- Plunge Valve (PV) positionErr
5 | 82 |  | 35m -- 4:30am | 2019-06-05 | E 5.5km | no | 4 | [9 empty] | Failed |  |  |  | 20190604T233636/shore.log | Slide::Error in LRAUV -- Plunge Valve (PV) positionErr
4 | 317
3 | 281
2 | 18
1 | 34
3 PV ERRORS IN A ROW TERMINATED MISSION

## MissionSamples_Koa
|  |  | PreDeployment | [10 empty] | Good |  |  | 55
|  |  | Orange (diff shades) = successful Paired samples | [10 empty] | Leaked |  |  | 0
Post Deployment
MAKAI KOA
May 2019 Cartridge Position List | [8 empty] | UTC | Local times! | Local times!
SC position | Cartridge # | Puck # | Sample | Date Spent | Water Source | Match with MV1-Daphne | LRAUV Mission Sample number | Block Sample # | LRAUV Dash S_Filtering (hr:min) | LRAUV Dash S_Processing (hr:min) | LRAUV Dash S_Stopping (hr:min) | Fiter (min:sec) | Process (min:sec) | LRAUV Triggered Sample Depth (m) | LRAUV Triggered Sample Chl(ug/L) | LRAUV Triggered Sample Temp C | Volume (ml) | ESP log Sample Start (hr:min) | ESP log Sample End (hr:min) | Filter (min:sec) | Log | Comment
60 | 45 |  | Positive
59 | 194 |  | Negative | 2019-05-24 | MillQ water
58 | 40 |  | 25-30m --Midnight | 2019-05-29 | Over DEIMOS | No | 1 |  | 2019-05-29T19:30:10 |  |  |  |  | 30.4352 |  |  | 1000 |  |  |  | 20190529T081339/shore.log
57 | 288 |  | 230-235m--Midnight | 2019-05-29 | Over DEIMOS | No | 2 |  | 2019-05-29T20:44:34 |  |  |  |  | 200.7345 |  |  | 1000 |  |  |  | 20190529T081339/shore.log
56 | 290 |  | 280-285m--Midnight | 2019-05-29 | Over DEIMOS | No | 3 |  | 2019-05-29T21:47:41 |  |  |  |  | 265.892 |  |  | 1000 |  |  |  | 20190529T081339/shore.log
55 | 273 |  | 25-30--midnight | 5/29-30/2019 | Over DEIMOS | yes | 1 |  | 2019-05-30T06:14:24.95 |  |  |  |  | 27.436 |  |  | 1000 |  |  |  | 20190530T005113/shore.log | After sample lost acoustic contact w/ Tiny. Mission Aborted. Instrument surfaced.
54 | 309 |  | 25-30--midnight | 5/29-30/2019 | Over DEIMOS | ? | 1 |  | 2019-05-30T09:22:05.32 |  |  |  |  | 27.6698 |  |  | 1000 |  |  |  | 20190530T005113/shore.log
53 | 274 |  | 230-235--midnight | 5/29-30/2019 | Over DEIMOS | ? | 2 |  | 2019-05-30T10:49:48 |  |  |  |  | 230.4001 |  |  | 1000 |  |  |  | 20190530T005113/shore.log
52 | 62 |  | 280-285m--Midnight No Sample FAILED:: BUS ERROR |  |  |  | 3 | [6 empty] | 280 |  |  | FAILED-No sample |  |  |  | 20190530T005113/shore.log | FAILED :: BUS ERROR --BACK TO SHORE 5/30 - cart still good: Spare cartridges now in play
52 | 62 |  | 30-35 m -- Midnight | 5/31-6/1 | Over DEIMOS | Yes | 1 |  | 2019-06-01T08:08:28.02 |  |  |  |  | 28.9697 |  |  | 1000 |  |  |  | 20190531T185227/shore.log
51 | 320 |  | 205-210 m -- Midnight | 5/31-6/1 | Over DEIMOS | Yes | 2 |  | 2019-06-01T09:19:29 |  |  |  |  | 205 |  |  | 1000 |  |  |  | 20190531T185227/shore.log
50 | 278 |  | 255-260 m. -- Midnight | 5/31-6/1 | Over DEIMOS | Yes | 3 |  | 2019-06-01T10:22:22.508 |  |  |  |  | 255 |  |  | 1000 |  |  |  | 20190531T185227/shore.log
49 | 282 |  | 20-25m -- Noon | 2019-06-01 | Over DEIMOS | Yes | 1 |  | 2019-06-01T17:00:52 |  |  |  |  | 23.5327 |  |  | 1000 |  |  |  | 20190601T142936/shore.log
48 | 150 |  | 95-100 m -- Noon | 2019-06-01 | Over DEIMOS | Yes | 2 |  | 2019-06-01T18:08:43 |  |  |  |  | 95.5569 |  |  | 1000 |  |  |  | 20190601T142936/shore.log
47 | 333 |  | 270-275 m -- Noon | 2019-06-01 | Over DEIMOS | Yes | 3 |  | 2019-06-01T19:19:50 |  |  |  |  | 270.451 |  |  | 1000 |  |  |  | 20190601T142936/shore.log
46 | 151 |  | 20-25 m. --midnight | 6/1-2/19 | Over DEIMOS | Yes | 1 |  | 2019-06-02T05:24:16 |  |  |  |  | 25.3944 |  |  | 1000 |  |  |  | 20190601T142936/shore.log
45 | 266 |  | 120-125 m --midnight | 6/1-2/19 | Over DEIMOS | No | 2 |  | 2019-06-02T06:38:30 |  |  |  |  | 120.4961 |  |  | 1000 |  |  |  | 20190601T142936/shore.log
44 | 252 |  | 255-260 m --midnight | 6/1-2/19 | Over DEIMOS | No | 3 |  | 2019-06-02T07:48:05 |  |  |  |  | 255.6545 |  |  | 1000 |  |  |  | 20190601T142936/shore.log
43 | 111 |  | 55-60 m --noon | 2019-06-02 | Over DEIMOS | yes | 1 |  | 2019-06-02T19:03:05 |  |  |  |  | 55.1378 |  |  | 1000 |  |  |  | 20190602T165521/shore.log
42 | 162 |  | 115-120 m --noon | 2019-06-02 | Over DEIMOS | yes | 2 |  | 2019-06-02T20:04:09 |  |  |  |  | 115.49 |  |  | 1000 |  |  |  | 20190602T165521/shore.log
41 | 261 |  | 250-255 m --noon | 2019-06-02 | Over DEIMOS | yes | 3 |  | 2019-06-02T21:11:46 |  |  |  |  | 250.5885 |  |  | 1000 |  |  |  | 20190602T165521/shore.log
40 | 59 |  | 40-45 m -- midnight | 6/2-3/19 | Over DEIMOS | Yes | 1 |  | 2019-06-03T05:14:44 |  |  |  |  | 42.9567 |  |  | 1000 |  |  |  | 20190602T225937/shore.log
39 | 171 |  | 215-220 m -- midnight | 6/2-3/19 | Over DEIMOS | Yes | 2 |  | 2019-06-03T06:28:56 |  |  |  |  | 215.5667 |  |  | 1000 |  |  |  | 20190602T225937/shore.log
38 | 103 |  | 280-285 m -- midnight | 6/2-3/19 | Over DEIMOS | Yes | 3 |  | 2019-06-03T07:31:19 |  |  |  |  | 280.7064 |  |  | 1000 |  |  |  | 20190602T225937/shore.log
37 | 283 |  | 50m | 2019-06-03 | Over DEIMOS | no Makai-7 sample | 1 |  | 2019-06-03T19:26:07 |  |  |  |  | 52.371 |  |  | 1000 |  |  |  | 20190602T225937/shore.log
36 | 271 |  | 100m | 2019-06-03 | Over DEIMOS | no Makai-7 sample | 2 |  | 2019-06-03T20:28:41 |  |  |  |  | 100.6037 |  |  | 1000 |  |  |  | 20190602T225937/shore.log
35 | 148 |  | 110m | 2019-06-03 | Over DEIMOS | ? Makai-7 sample | 3 |  | 2019-06-03T21:30:15 |  |  |  |  | 110.5235 |  |  | 1000 |  |  |  | 20190602T225937/shore.log
34 | 263 |  | 150m | 2019-06-03 | Over DEIMOS | no Makai-7 sample | 4 |  | 2019-06-03T22:31:46 |  |  |  |  | 150.5537 |  |  | 1000 |  |  |  | 20190602T225937/shore.log
33 | 116 |  | 165m | 2019-06-03 | Over DEIMOS | ? Makai-7 sample | 5 |  | 2019-06-03T23:35:01 |  |  |  |  | 165.4378 |  |  | Suspect ???? |  |  |  | 20190602T225937/shore.log | Could be a smear sample. Must download ESPlogs.
32 | 52 |  | 35m | 6/3-4/19 | Over DEIMOS | ? Makai-7 sample | 1 |  | 2019-06-04T04:51:36 |  |  |  |  | 37.9674 |  |  | 1000 |  |  |  | 20190604T011616/shore.log
31 | 80 |  | 50m | 6/3-4/19 | Over DEIMOS | no Makai-7 sample | 2 |  | 2019-06-04T05:53:48 |  |  |  |  | 50.7846 |  |  | 1000 |  |  |  | 20190604T011616/shore.log
30 | 115 |  | 100m | 6/3-4/19 | Over DEIMOS | no Makai-7 sample | 3 |  | 2019-06-04T06:57:50 |  |  |  |  | 100.6099 |  |  | 1000 |  |  |  | 20190604T011616/shore.log
29 | 68 |  | 125m | 6/3-4/19 | Over DEIMOS | ? Makai-7 sample | 4 |  | 2019-06-04T07:57:49 |  |  |  |  | 125.7046 |  |  | 1000 |  |  |  | 20190604T011616/shore.log
28 | 210 |  | 150m | 6/3-4/19 | Over DEIMOS | no Makai-7 sample | 5 |  | 2019-06-04T08:57:02 |  |  |  |  | 150 |  |  | 1000 |  |  |  | 20190604T011616/shore.log
27 | 72 |  | 200m | 6/3-4/19 | Over DEIMOS | no Makai-7 sample | 6 |  | 2019-06-04T10:04:57 |  |  |  |  | 200.7699 |  |  | 1000 |  |  |  | 20190604T011616/shore.log
26 | 147 |  | 250m | 6/3-4/19 | Over DEIMOS | ? Makai-7 sample | 7 |  | 2019-06-04T11:08:20 |  |  |  |  | 250.7105 |  |  | 1000 |  |  |  | 20190604T011616/shore.log
25 | 285 |  | 50m --noon | 2019-06-04 | Over DEIMOS | ? Makai-7 sample | 1 |  | 2019-06-04T17:13:20 |  |  |  |  | 54.080818 m |  |  | 1000 |  |  |  | 20190604T011616/shore.log
24 | 181 |  | 75m -- noon | 2019-06-04 | Over DEIMOS | no Makai-7 sample | 2 |  | 2019-06-04T18:17:00 |  |  |  |  | 75.5337 |  |  | 1000 |  |  |  | 20190604T011616/shore.log
23 | 323 |  | 100m -- noon | 2019-06-04 | Over DEIMOS | no Makai-7 sample | 3 |  | 2019-06-04T19:15:50 |  |  |  |  | 100.5763 |  |  | 1000 |  |  |  | 20190604T011616/shore.log | ArS error positionErr at 48ul (actually 74ul) @12:59:21.82 Retry #1 of 2
22 | 246 |  | 130m -- noon | 2019-06-04 | Over DEIMOS | ? Makai-7 sample | 4 |  | 2019-06-04T20:15:36 |  |  |  |  | 130.656 |  |  | 1000 |  |  |  | 20190604T011616/shore.log
21 | 242 |  | 150m --noon | 2019-06-04 | Over DEIMOS | no Makai-7 sample | 5 |  | 2019-06-04T21:14:34 |  |  |  |  | 150.6394 |  |  | 1000 |  |  |  | 20190604T011616/shore.log
20 | 153 |  | 200m --noon | 2019-06-04 | Over DEIMOS | no Makai-7 sample | 6 |  | 2019-06-04T22:20:33 |  |  |  |  | 200.7032 |  |  | 1000 |  |  |  | 20190604T011616/shore.log
19 | 258 |  | 250m -- noon | 2019-06-04 | Over DEIMOS | ? Makai-7 sample | 7 |  | 2019-06-04T23:23:14 |  |  |  |  | 250 |  |  | 1000 |  |  |  | 20190604T011616/shore.log
18 | 227 |  | 20m -- midnight | 6/4-5/19 | Over DEIMOS | no Makai-7 sample | 1 |  | 2019-06-05T05:09:42 |  |  |  |  | 20.0789 |  |  | 965 |  |  |  | 20190604T011616/shore.log
17 | 284 |  | 50m -- midnight | 6/4-5/19 | Over DEIMOS | no Makai-7 sample | 2 |  | 2019-06-05T06:24:03 |  |  |  |  | 50.6656 |  |  | 1000 |  |  |  | 20190604T011616/shore.log
16 | 324 |  | 100m -- midnight | 6/4-5/19 | Over DEIMOS | no Makai-7 sample | 3 |  | 2019-06-05T07:24:07 |  |  |  |  | 100.6812 |  |  | 1000 |  |  |  | 20190604T011616/shore.log
15 | 254 |  | 120m -- midnight | 6/4-5/19 | Over DEIMOS | no Makai-7 sample | 4 |  | 2019-06-05T08:26:56 |  |  |  |  | 120.6613 |  |  | 1000 |  |  |  | 20190604T011616/shore.log
14 | 322 |  | 150m -- midnight | 6/4-5/19 | Over DEIMOS | no Makai-7 sample | 5 |  | 2019-06-05T09:28:20 |  |  |  |  | 150.6855 |  |  | 1000 |  |  |  | 20190604T011616/shore.log
13 | 67 |  | 200m -- midnight | 6/4-5/19 | Over DEIMOS | no Makai-7 sample | 6 |  | 2019-06-05T10:35:10 |  |  |  |  | 200.6894 |  |  | 1000 |  |  |  | 20190604T011616/shore.log
12 | 307 |  | 250m -- midnight | 6/4-5/19 | Over DEIMOS | no Makai-7 sample | 7 |  | 2019-06-05T11:44:01 |  |  |  |  | 250.5703 |  |  | 1000 |  |  |  | 20190604T011616/shore.log
11 | 113 |  | 85-90m--noon | 2019-06-05 | Over DEIMOS | no Makai-3 sample | 1 |  | 2019-06-05T21:05:17 |  |  |  |  | 90.2765 |  |  | 1000 |  |  |  | 20190605T170736/shore.log | Before dive, lost dropweight.
10 | 287 |  | 195-200m --noon | 2019-06-05 | Over DEIMOS | no Makai-3 sample | 2 |  | 2019-06-06T02:28:17 |  |  |  |  | 169.7465 |  |  | 1000 |  |  |  | 20190605T223532/shore.log
9 | 112 |  | 280-285m --noon | 2019-06-05 | Over DEIMOS | no Makai-3 sample | 3 |  | 2019-06-06T03:36:00 |  |  |  |  | 280.6585 |  |  | 1000 |  |  |  | 20190605T223532/shore.log
8 | 71 |  | 20m -- midnight | 6/4-5/19 | Over DEIMOS | no Makai-7 sample | 1 |  | 2019-06-06T07:03:51 |  |  |  |  | 25.8947 |  |  | 1000 |  |  |  | 20190605T223532/shore.log
7 | 66 |  | 50m -- midnight | 6/4-5/19 | Over DEIMOS | no Makai-7 sample | 2 |  | 2019-06-06T07:21:16 |  |  |  |  | 50.7002 |  |  | 1000 |  |  |  | 20190605T223532/shore.log
6 | 167 |  | 100m -- midnight | 6/4-5/19 | Over DEIMOS | no Makai-7 sample | 3 |  | 2019-06-06T08:21:42 |  |  |  |  | 100.6495 |  |  | 1000 |  |  |  | 20190605T223532/shore.log
5 | 126 |  | 120m -- midnight | 6/4-5/19 | Over DEIMOS | no Makai-7 sample | 4 |  | 2019-06-06T09:23:09 |  |  |  |  | 120.6785 |  |  | 1000 |  |  |  | 20190605T223532/shore.log
4 | 14 |  | 150m -- midnight | 6/4-5/19 | Over DEIMOS | no Makai-7 sample | 5 |  | 2019-06-06T10:24:09 |  |  |  |  | 145.6193 |  |  | 1000 |  |  |  | 20190605T223532/shore.log
3 | 50 |  | 200m -- midnight | 6/4-5/19 | Over DEIMOS | no Makai-7 sample | 6 |  | 2019-06-06T11:23:27 |  |  |  |  | 195.5352 |  |  | 1000 |  |  |  | 20190605T223532/shore.log
2 | 178 |  | 250m -- midnight | 6/4-5/19 | Over DEIMOS | no Makai-7 sample | 7 |  | 2019-06-06T12:29:52 |  |  |  |  | 250.6545 |  |  | wET Leaked |  |  |  | 20190605T223532/shore.log | Cartridge::Sampler::Leak in FILTERING -- Isolated cartridge pressure fell by 19% to 310.7psia
1 | 311